
1.U delu Struktura ponuđene cene, Offered price structure form, fajl 05_01_Tirsova_DFC_Pip_BoQ.xlsx, pozicija 05.01.13., linija/-In the section Struktura ponuđene cene, Offered price structure form, file 05_01_Tirsova_DFC_Pip_BoQ.xlsx, position 05.01.13., line:
	Видео систем са 20 видео улаза и 8 видео излаза

	Video system with 20 inputs and 8 outputs


 Menja se i glasi/ is changed and reads as follow:
	Видео систем са 8 видео улаза и 8 видео излаза

	Video system with 8 inputs and 8 outputs



2.U delu Tehnička dokumentacija/Technical documentation, sveska 5.1, na strani 46 i 47 ne primenjuje se sledeći deo teksta koji se odnosi funkcije koje treba da ispunjava ponuđeni sistem:
Integracija endoskopskih sistema
Integracija dijatermijskih uređaja
-In the section Technical documentation/Technical documentation, volume 5.1, on pages 46 and 47, the following part of the text related to the functions to be fulfilled by the offered system does not apply:
Integration of endoscopic systems
Integration of diathermy devices

3.U delu Opis kriterijuma za kvalitativni izbor privrednog subjekta sa uputstvima, u tački 5 Standardi osiguranja kvaliteta i standardi upravljanja životnom sredinom, podtačke 5.1 i 5.2, menja se tekst koji se odnosi na oblast sertifikacije, tako da sada glasi: "Neophodno je da se oblast sertifikacije odnosi na oblast poslovanja ponuđača/članova grupe ponuđača, a u skladu sa delom posla koji je poveren ponuđaču/članu grupe ponuđača"./

In the section Criteria for qualitative selection of the economic operator, in item 5 quality control Standards and environmental management standards, sub item 5.1. and 5.2, a text which regards the area of certification is changed, and now it reads as follows: "It is necessary that the area of certification refers to the field of works of the tenderer/members of the tenderer’s group, and in accordance with the part of the work that is entrusted to the tenderer/members of the tenderer’s group".
4. Naručilac vrši dopunu konkursne dokumentacije tako što će objaviti tehničku dokumentaciju u DWG formatu, a u skladu sa zahtevima zainteresovanih lica. Shodno tome, u deo Konkursne dokumentacije, Tehnilka dokumentacija i planovi,  dodaje  se dokument: Technical Documentation-Tehnička dokumentacija-ADDITION-DOPUNA. /The Contracting Authority supplements the Tender documentation by publishing the technical documentation in DVG format, in accordance with the requests of interested parties. Accordingly, in the section of Tender documentation, Technical documentation, and plans, the following document is added: Technical documentation-Technical documentation-ADDITION-SUPPLEMENT.

