GENERAL PART-INFORMATION CONCERNING THE SUBJEST-MATTER OF PROCUREMENT
	Name:
	[bookmark: _Hlk124507758]Procurement of construction works on completion of University dormitory in the city of Nis – Lamella 5, within the project “Student housing” - L/D 2070 (2020) which is financed from the Framework Loan Agreement - L/D
 2070 (2020) concluded between Republic of Serbia and Council of Europe Development Bank (CEB) and from the budget of the Republic of Serbia. 


	Reference number:
	OP/R/01/2025

	Type of procurement procedure:
	Works



Description:
	The building of the University dormitory with a floor capacity Po+P+11+Pk, is located on the kad. plot. no. 1928/2 and 1929/9 KO Red Cross. Construction work was started on 2009, continued until 2014, and with the last phase in 2019, five additional floors were constructed, a total of 11 floors including the attic and basement.
Cadastral plot no. 1928/2 and 1929/2 KO Nis - Red Cross are located within the scope of the General Regulation Plan of the area of ​​the City Municipality of Red Cross - first phase in Nis ("Official Gazette of the City of Nis" no. 102/2012, 118/2018 and 44 /2019).
The plots on which the object in question is located are on the area planned for the construction of a student dormitory - public purpose area, in urban planning unit no. 4.
The facility is located in Nis, near the technical faculties and the existing University dormitory, the plot on which it is located faces Nikola Tesla Boulevard. The building is free-standing, floors Po+P+11+Pk.
The building has been built up to the level of rough construction work - a concrete structure with facade walls with windows (partially) and partition walls. The gross developed area of ​​the building is 12.207,09 m2. 
The facility consists of the following basic units:
*Basement - technical block, archives, laundry room, fitness room, accompanying cloakrooms and wet rooms
*Ground floor - entrance hall, corridor-communication, porter and reception with offices, administrative part with sanitary facilities, kitchenette, student housing rooms, reading room, cafe shop and Internet cafe area, room for electrical cabinets
*I- floor - communications-hall, room for electrical cabinets, room for the housekeeper, common area with kitchen, double and triple rooms with bathroom for student housing
*II- floor - communications-hall, a room for electrical cabinets, a room for a housekeeper, a common area with a kitchen, a reading room, double and triple rooms with bathrooms for student accommodation
*III - floor - communications-hall, room for electrical cabinets, reading room, TV room, internet club, shared bathroom, double rooms with bathroom for students
*IV, V, VI, VII, VII, IX, X and XI floor - communications-hall, room for electrical cabinets, room for the maid, common area with kitchen, double and triple rooms with bathroom for student housing 
*ATTIC - communications-hall, room for electrical cabinets, trocadero, laundry room, coffee bar with wet room, storage room, apartments with kitchen and bathroom
* Horizontal and vertical communications (staircase, corridors and elevators).

The works include the construction of a substation, internal roadways, and external landscaping.





Other notes:
________________________________________________________________________
1) In case of inconsistency between the published Tender documentation in Serbian and English, it will be given priority to the Serbian version of the Tender Documentation.
2) [bookmark: _Hlk131415435]In order to ensure the efficiency of the public procurement procedure, please submit requests for clarification of tender documents bilingually, i.e. in both Serbian and English.
3) Any fee for the use of patents and the responsibility for violation of protected intellectual rights are to be borne by tenderers.

