# GENERAL INFORMATION ABOUT THE FACILITY AND LOCATION

## GENERAL INFORMATION ABOUT THE FACILITY AND LOCATION

| object type: | detached |  |
| --- | --- | --- |
| type of work: | Construction work on Completion of an Existing Building |  |
| object category: | V - Buildings for residential communities G - Substation facility |  |
| classification of individual parts of the building: | participation in the total area of ​​the facility (%): | classification code: |
|  | (100%) | Buildings for housing communities; (Over 400 m2or P+2)- 113002 |
|  | (100%) | Substation facility and integration into the existing network -222420 and 222410 |
| name of a spatial or urban plan: | Plan of general regulation of the area of ​​the Crveni Krst City Municipality - the first phase in Nis (Official Gazette of the City of Nis No. 102/2012, 118/2018 and 44/2019) |  |
| place: | Niš |  |
| cadastral plot number/list of cadastral plots and cadastral municipality: | kp. no. 1928/2 and 1929/9, KO Nis-Crveni Krst |  |
| cadastral plot number/ list of cadastral plots and cadastral municipality through which infrastructure connections pass: | kp. no. 1928/2 and 1929/9, KO Nis-Crveni Krst |  |
| cadastral plot number/ list of cadastral plots and cadastral municipality where the connection to the public road is located: | / |  |

## CONNECTIONS TO THE INFRASTRUCTURE

| Electricity distribution network |  |  |
| --- | --- | --- |
| Total capacity | Pjmax=1150kW |  |
| Connection type | Permanent, three-phase |  |
| Type of measuring device | Three-phase indirect measuring group at voltage 10kV |  |
| Heating method | Combined heating system: heat pumps + heating plant of the Faculty of Mechanical Engineering. |  |
| Required energy capacity for different purposes (sorted by inputs) | Maximum simultaneous power of the facility: Pjmax=1150kW |  |
| Required energy capacities for joint consumption (sorted by inputs) | / |  |
| Data on the connections of existing buildings on the plot/plots (if any) | / |  |
| Atypical consumers | / |  |
| The need for greater reliability and security in the supply of electricity | / |  |
| Other infrastructure |  |  |
| connection to the water supply network |  | sanitary water with irrigation system Q=4.38 l/s + 4.15 l/s hydrant water Q=20 l/s |
| connection to the fecal sewage network |  | fecal sewage Q=17.80 l/s atmospheric sewage Q=39.39 l/s (retention) |
| connection to the telecommunications network |  | connection to the optical infrastructure of the operator of telecommunication services |
| connection to the gas network |  | / |
| connection to the traffic network |  | On Nikola Tesla Boulevard |

## BASIC INFORMATION ABOUT THE OBJECT AND LOCATION

| object dimensions: | total area of ​​the plot/lots: | 8640 m² |  |
| --- | --- | --- | --- |
|  | GROSS of parts of the facility (Article 145.) | 36,20 m² |  |
|  | GROSS above ground: | GROSS Residential building: 11372,79m² |  |
|  |  | GROSS Substation: 36.20m² |  |
|  |  | GROSS Total: 11.408,99m² |  |
|  | GROSS built area: | GROSS Residential building: 12207,09m² |  |
|  |  | GROSS Substation: 36.20 m² |  |
|  |  | GROSS Total: 12.243,30m² |  |
|  | total NET area: | NET Residential building: 10344,90m² |  |
|  |  | NET Substation: :29,47m² |  |
|  |  | NET Total: 10.374,37m² |  |
|  | ground floor area: | Residential building: 942,85 m² |  |
|  |  | Substation: 36.20m² |  |
|  |  | Total: 979,05 m² |  |
|  | land area under the building/occupancy: | Residential building: 988,98 m² |  |
|  |  | Substation: 36.20 m² |  |
|  |  | Total: 1,025.18m² |  |
|  | number of floors (above ground and underground floors): | Residential building: basement+ground floor+11+attic Substation: ground floor |  |
|  | height of the building (corner, ridge, suspended floor, etc.) according to location conditions: | Top ridge height 41.84 m |  |
|  | absolute elevation (corner, gable, raised floor, etc.) according to location conditions: | Top ridge height 241.58 |  |
|  | floor height: | Ground floor 3.68 m Third floor 3.23 m Floors 3.03 m |  |
|  | number of functional units/number of apartments: | Residential building: 1 Substation: 1 |  |
|  | number of parking spaces: | 8 new and 16 existing |  |
| object materialization: | Materialization of the facade: | Facade plaster |  |
|  | ridge orientation: | northwest-southeast |  |
|  | roof pitch: | 1% |  |
|  | materialization of the roof: | Waterproofing roof membrane |  |
| percentage of green areas: | 25% (In direct contact with the ground) | achieved 33,20 % |  |
| occupancy index: | 60% (given location conditions) | achieved 19.25% |  |
| construction index: | 2.20 (given location conditions) | achieved 2.19 |  |
| other features of the facility: | / |  |  |
| the estimated value of the object: |  |  |  |